# Build Brief — AI-Assisted Electrical Estimating Tool

Paste this whole file into Claude Code (Fable 5) as your opening prompt. It contains your mission, how to work, the domain knowledge you need "in root memory", the exact features to build, a canonical data model, and acceptance tests keyed to real files you can already see in this project.

## 0. Who you are and what you're doing

You are the senior engineer on an automated electrical estimating tool. It reads raw UK electrical design documents — LV schematics, distribution-board schedules, and specifications — and turns them into a structured, verifiable device take-off per board reference, and (secondarily) a priced quote.

- The main tool lives in the estimation tool folder (open it first — it has the app code and an HTML entry point). Read it end-to-end before writing anything.

- You have visibility of the same project files the user does (the ~99 example PDFs/PNGs). Use them as ground truth and as test fixtures — read the real documents rather than guessing at formats.

- This is an established multi-tab web app, not a greenfield build. It is deployed as "Estimation 101 — Electrical Document Intelligence" (Netlify SPA, client-side workspace password). It already has the tabs in §2 working: Projects, Documents (with a dropzone + page-classification table), a Viewer (canvas with overlays, assisted canvas, OCR), Devices (count/scope/exclude-spares + CSV/XLSX export), Boards (board hierarchy + "supplied-from" supply relationships + duplicate detection), a Review queue, and Compare (change-type-filtered dual-pane). Every one of the five workstreams is a change to an existing page — reframe "build" as "modify". Read the real components before touching them.

- Keep the AI-extracts / code-computes split sacred. The model classifies, extracts, and structures documents into the §4 model; all counting, aggregation, diversity, and pricing are deterministic code, never the model. (Historically this was a quote_tool.py extractor + a generate_quote.py deterministic join to price_list.csv. Some of that core may still exist behind the app — confirm what the deployed app actually uses rather than assuming; the boundary is what matters, not the filenames.)

### The one priority that outranks everything

An accurate device take-off per board reference is the product. Every required device captured, with the input→output relationship (which board feeds which, through which device and cable) made explicit. Pricing/PDF output is secondary and must never compromise take-off accuracy.

Current top bug: the tool is missing obvious datasets that are clearly present in the inputs (whole boards, whole rows, sometimes whole documents). Extraction recall is therefore the first thing to fix — see Workstream 0 (§2A) — before any of the five feature workstreams. A missing device is the worst possible failure for this product.

## 1. How to work (Claude Code operating rules)

- Explore before you build. Read the estimation-tool folder and HTML entry point, and map the existing tabs/components (Projects, Documents, Viewer, Devices, Boards, Review, Compare — see §2) to the code that renders them. Find the current extraction path, the current data/state shape, price_list.csv (or wherever rates live), and any serverless/API calls the deployed app makes. Read a spread of the real example files (see §7). Summarise what exists, what each of the five workstreams touches, and where the seams are — before changing anything.

- Plan, then confirm. Produce a short written plan per workstream (§5) before coding. Get a thumbs-up on sequencing.

- Work in small, verifiable increments. After each change, run it against real fixture files and show the extracted JSON / diff / UI. Never batch up a huge unreviewable change.

- Persist the domain model into the repo (this is the "train it into the tool's root memory" step): put §3 and §4 into a durable CLAUDE.md / DOMAIN_MODEL.md and, where relevant, into the extraction prompt constants — so future runs don't re-derive the taxonomy.

- Keep arithmetic deterministic. The model classifies, extracts, and structures. Counting, aggregation, diversity, and pricing are plain code.

- Flag, don't guess. When two documents disagree, or confidence is low, surface it for a human decision. Never silently pick a value.

- Human-in-the-loop is a feature, not a fallback. Every extraction is reviewable and editable before it feeds the take-off.

- Cite provenance. Every extracted board/device/feed carries its source document, page, and a confidence score, so the UI can jump to it.

## 2. Current state (verified from the live app) → what each revision changes

The deployed app already has these tabs. Do not rebuild them — modify them. Left = what exists now; right = the revision that changes it.

| Existing tab / feature (working today) | The five revisions |
| --- | --- |
| Projects — "each project holds its drawings, schedules and extraction results"; local persistence | (unchanged) |
| Documents — a dropzone ("Drop electrical documents here… PDF/TXT/CSV, analysis starts automatically"), a Documents table (Document / Type / Size / Pages / Source / Status), and a Page classification table (Page / Detected type / Confidence / Source / Boards on page / Device rows) with a per-page type dropdown currently offering a long list (Cover page, Drawing register, Electrical legend, Lighting/Small-power/Fire-alarm/Containment plan, Single-line diagram, Electrical schematic, Main panel-board schedule, Distribution-board schedule, Cable schedule, Equipment schedule, Specification, General notes, Unknown) | #1 collapse that dropdown/classifier to exactly Schematic / Distribution Board Schedule / Specification. #3 make the dropzone capture on drop anywhere on the page, auto-scrape, and add schematic↔schedule cross-referencing. |
| Viewer — canvas with page nav (‹ 1/1 ›), zoom (− / + / Fit / ⟳), Overlays toggles (All detections / Confirmed / Needs review / Cables / Boards), ✦ Assisted canvas, OCR page, and an "On this page" detections list | #2 upgrade to the full engineering-grade canvas (A0/A1 + infinite canvas, 25–800% zoom, thumbnails, in-PDF search, multi-doc tabs, dark/light, print/download, keyboard/screen-reader, smart-highlight by board ref). |
| Devices — a Scope panel (Documents / Pages / Boards / Device types), "Ignore rows containing", "Exclude only unpopulated spare & space ways" + preview, ⚙ Count devices, "Device totals by board" with "Approve all high-confidence", "+ Add manually", and CSV / XLSX export | #4 merge with Boards → select a board ref, see that board's full device table (this counting logic is the take-off engine; keep it deterministic). |
| Boards — "Board hierarchy — supply relationships extracted from schematics — correct the parent if wrong", a Detected boards table (Board / Normalised / Type / Supplied from / Devices / Source / Confidence), and "Possible duplicate boards — never merged automatically" | #4 merge with Devices. (Note: "Supplied from" + hierarchy-from-schematics means the input→output backbone already partly exists — harden it, don't restart it.) |
| Review — "Review queue — uncertain results are never silently accepted" | reinforced by #3 (assisted manual review + discrepancy resolution feed this queue). |
| Compare — Document A / Document B pickers, ⇄ Compare, ↓ Next, an "Electrical changes" list with a change-type filter (Circuit added / Circuit removed / Rating changed / Device type changed / Cable changed / Board added-removed), and a dual-pane A/B view | #5 rebuild to be simpler and more powerful (reuse the #2 viewer + a stronger structured diff). |
| ⚙ Analyse documents — top-right trigger that runs classification + extraction | keep; #3 routes its output through assisted review + cross-reference before it lands. |

Net: the scaffolding, the classifier, the viewer, the device counter, the board-hierarchy extractor, the review queue and the compare pane all exist. The five revisions refine and connect them — narrow the taxonomy, deepen the viewer, capture-anywhere + cross-reference, merge Boards+Devices, and rebuild Compare — while preserving the AI-extracts / code-computes boundary and the take-off-accuracy priority.

## 2A. WORKSTREAM 0 — Fix the missing-data problem FIRST (extraction completeness)

Reported symptom: the tool misses obvious datasets that are plainly present in the inputs — whole boards, whole circuit rows, sometimes whole documents. This is the top bug and it outranks every feature in §5. Recall — "did we capture everything that is actually there?" — is the acceptance bar for the whole product. Do this workstream before 5.1–5.5.

### 0.1 Build a completeness harness before touching extraction

You cannot fix what you cannot see. Make the gap measurable first:

- Emit a Coverage Report for every document: per page/board, expected vs captured. Expected ways come from the board header (e.g. "18 WAY TP&N" ⇒ 18 ways / 54 phase-slots); compare to rows actually extracted. Also: boards named on a schematic vs boards actually created; and any page with a tabular/text signature but zero extracted rows.

- Run it across every fixture in §7 and produce a baseline table (pages, boards found, ways found, unaccounted regions, % complete). Show me this baseline before changing extraction — it's how we prove the fix.

- Lock ground-truth counts for the anchor fixtures in §0.5 so "fixed" is a number, not a feeling.

### 0.2 Hunt these specific failure modes (curated to these exact documents)

Missing data in these document types almost always traces to one of:

- Pagination / truncation — only page 1 (or the first few) of a big schedule is processed. These files run to 51 / 54 / 70 / 77 / 84 pages with roughly one board per page; a single-pass extraction drops later boards off the end (input truncated, or model output capped). → Process every page; never assume one call covers the document.

- Multi-page boards not stitched — one board spans several pages with continuing way numbers (Syntegral DB-MECH runs pages 11→13, ways 1/L1 … 18/L3). A per-page extractor emits three fragments or drops the continuation. → Detect "continued" headers and merge by board ref + contiguous way numbers into one board.

- Unrecognised dialect ⇒ whole document blank — the extractor is tuned to one layout and silently returns ~nothing for the others (§3.3 lists 7+). An entire board or document going missing is the tell. → Cover every dialect. A page classified as a schedule that yields ~0 rows is a failure to raise, not an empty result to accept.

- Scanned / image-only pages ⇒ nothing — LV_schematic{,2,3,4}, SKM_C551i…, doc0896722… have no text layer; native-text extraction returns empty. → Auto-OCR any page with no/low text layer. The tool already has an "OCR page" action — apply it automatically, don't wait for a click.

- Low confidence ⇒ silently dropped instead of queued — the tool's own principle is "uncertain results are never silently accepted," but the real failure is dropping them. → Route every low-confidence row to the Review queue; never discard. A dropped row is invisible; a queued row is fixable.

- Over-eager spare/blank filtering — multi-phase rows carry the way number on one line only (DB-MECH: 4/L1 blank, 4/L2 populated, 4/L3 blank). "Looks empty ⇒ drop" logic deletes real circuits and mis-splits phases. → Keep every way slot; classify spare-vs-equipped explicitly; never delete a row to tidy the table.

- Table detection breaking on wrapped/rotated headers & merged cells — schedule headers wrap across lines ("Phase & / Neutral (mm²)") and columns are narrow; rigid header-matching drops the whole table. → Parse tolerant to wrapped headers; fall back to positional/visual table parsing when header-matching fails.

- Schematic topology missed — schematics are spatial; reading text in reading-order catches the main panel but misses outgoing devices and downstream DBs spread across the sheet. → Extract by following the single-line topology (source → panel → each outgoing device → cable → downstream board), not left-to-right text order.

- Aggressive de-duplication — distinct boards with similar refs (DB-01-21 vs DB-01-22; per-phase sub-boards) get merged away. → Never auto-merge (the tool already states this for boards) — flag "possible duplicate" and keep both.

### 0.3 Add a reconciliation / self-check pass (this is what actually catches omissions)

After the first extraction pass, run a verification pass that checks the result against the document's own evidence and against the other documents:

- Header-vs-rows: header says "18 WAY" but 11 ways extracted ⇒ flag "7 ways unaccounted" and re-examine that region.

- Contents / index page: many schedules carry a summary index (Bow Green MCCB: "Summary Index — Ref / Location / Size"; DUN schedule "Issue Record" section list; Syntegral numbered pages). Treat listed boards as an expected set and flag any not extracted.

- Schematic ⇄ schedule checklist (the strongest signal): the schematic names every downstream board; each should be a section in a schedule. Use each as the other's checklist — "schematic references DB-00-14 but no board was extracted for it" is exactly the miss to surface. (Same engine as §5.3 cross-referencing, used here for recall.)

- Send every gap to the Coverage Report and the Review queue.

### 0.4 Make completeness a permanent gate, not a one-off fix

- Keep the Coverage Report as a standing feature so the user always sees, per document, what % was captured and what is unaccounted for.

- Prefer over-capture routed to review over silent omission. When unsure whether something is a device/board, include it and flag it. Under this tool's priority, a false positive the user deletes is far cheaper than a missing device they never see.

### 0.5 Acceptance (real fixtures, real numbers)

- 25057…REV_C02 (13 pp): every board on every page created; DB-MECH is ONE 18-way TP&N board stitched across pp 11–13 (not 3 fragments); DB-AV = 7 equipped + 4 spare + 1 SPD (way 12). Coverage ≈ 100%; zero "schedule page, 0 rows".

- SRP1053…4801 (A0 schematic): the 2500A ACB, the F-referenced outgoing devices, and every downstream DB named on the sheet (DB-00-08…14, DB-00-50, DB-01-21…29, DB-ESS-01, DB-00-SUBEXT, the EVC feeder pillar with 28 × 7.4kW) appear as boards/feeds. "Main panel + a couple of DBs" is a fail.

- Dundee CU (5 pp): all three CU variants (General Apartment / Cluster Bedroom / Cluster Kitchen), not just the first.

- Scanned set (LV_schematic{,2,3,4}, SKM_C551i…, doc0896722…): auto-OCR yields boards/devices, not empty.

- Large schedules (DBs_with_devices_for_Ben… 70 pp, SRP1053…6858 77 pp, DB_SCHEDULE 84 pp): extracted board count matches the document's own index/page count — no silent truncation past page ~N.

- Coverage Report clears the agreed recall threshold on all fixtures, and every unaccounted region sits in the Review queue.

## 3. DOMAIN KNOWLEDGE PACK  (persist this into the repo)

This is distilled from the real project files. It is the knowledge the extraction layer must encode. The single biggest extraction risk is format diversity — the same information appears in many different layouts. Normalise everything into the canonical model in §4.

### 3.1 The three document classes

| Class | What it is | Shape | Key signal words |
| --- | --- | --- | --- |
| Schematic (LV / distribution / single-line) | Spatial single-line diagram of the whole installation | Not tabular — nodes and connecting lines | "LV SCHEMATIC", "SINGLE LINE", transformer/ACB/panelboard symbols, "FORM x TYPE y", "DB/…" blocks connected by cables |
| Distribution Board Schedule (incl. CU circuit charts, switchboard & MCCB schedules) | Per-board tabular listing of every way/circuit | Tabular, one section per board reference | "DISTRIBUTION BOARD SCHEDULE", "CIRCUIT CHART", "Board Reference/Identity", "Way No.", "Duty" |
| Specification | NBS-style written clauses / product & workmanship requirements | Prose clauses (numbered) | "SPECIFICATION", NBS clause codes, prose paragraphs about products/standards |

Consumer units (CUs), switchboard schedules, MCCB schedules, and composite-board schedules are all sub-types of "Distribution Board Schedule" for classification — but tag their sub-format so the parser can adapt (see 3.3).

### 3.2 SCHEMATIC — the input→output backbone (highest-value extraction)

A schematic encodes the feed hierarchy. Capture it as a directed graph:

[Source] → [Main panel/board] → [outgoing device] → [cable] → [downstream board] → [outgoing device] → …

Elements you must recognise and extract:

- Source / incomer: transformer (e.g. 1500kVA), ACB (e.g. 2500A TP&N ACB, 2000A 4-POLE ACB), incoming LV service, metering (kWhr, CT, MID/Modbus), main earth bar.

- Main panel / panelboard: reference (e.g. MCCB PANELBOARD PB01, MSB1, DB/L/M), construction (FORM 3b/4 TYPE 2/6), fault rating (50kA 1 SEC, 36kA), way count (28 WAY, 21 WAY), entry/access notes.

- Outgoing devices (one per feed): class ∈ {MCCB, MCB, ACB, fuse, switch-disconnector/isolator, ATS, contactor}, rating (A), poles (TP&N, SP&N, 4P&N, expressed as 3/1/4), trip unit / curve (e.g. micrologic 2.2, Therm/mag, Type B/C/D), adjustable Y/N, plug-in Y/N, fault rating.

- Cable on each feed: cable ref (e.g. F28, Cable ref: 07), CSA + cores (e.g. 1x50mm² 4c, 35mm²), CPC (e.g. 70mm², integral core), cable type (XLPE/SWA/LSF, FP400, fire-rated), distance/length (often blank/TBC).

- Downstream board: reference (e.g. DB/GF, DB-00-08, DB/FF), way count + type (18WAY TP&N), duty/description (e.g. "Food Room Power Dist. Board").

- Special loads & annotations to capture: SPD (ESP, Type 1/2, "TBC by manufacturer"), EVC (e.g. 28 × 7.4kW fast chargers as twin units), lifts + ATS ("evacuation lift — do not switch off"), UPS (and its removal in later revisions), generator + changeover, power-factor correction / harmonic filters, life-safety panelboards, PV/G99, fire-alarm/disabled-refuge panels, "10% installed spare devices + 10% spare ways".

- Spare ways: mark explicitly; they are capacity, not priced devices (see §4 policy).

Reciprocity rule: every schematic feed edge (parent → device → cable → child) should have a matching board section in a DB schedule for that child, and the child's incomer rating on the schedule should be consistent with the outgoing device rating on the schematic. Mismatches are discrepancies to flag (§5.3).

### 3.3 DISTRIBUTION BOARD SCHEDULE — normalise across dialects

Every DB schedule has a board header + a per-way circuit table. The columns are named differently across software/consultants; map them all to the canonical model.

Board header fields (union across dialects): board reference/identity; description/duty; location; block/area; fed-from (parent board) and/or "Serving" (what it powers); incomer / main-switch device type + rating (A) + poles; way count (SP and/or TP, total); spare-capacity %; voltage; fault rating (kA); Ze; metering (Y/N); dual earth terminals; board model (e.g. Hager JKD186TM).

Per-way circuit fields (union): way number (1, CCT 1, or split by phase 1/L1 1/L2 1/L3); phase (L1/L2/L3 or SP); circuit description / duty / load name; protective-device class; device rating In (A) (and Ir if adjustable); trip curve (B/C/D); RCD rating (mA); AFDD (Y/N or +AFDD); cable type (coded or described); phase/line conductor CSA (mm²); CPC CSA (mm²/SWA); circuit configuration (RING/RADIAL/RAD); installation method; load (W / Ib). Mark SPARE ways and SPD ways distinctly.

Dialects seen in the real files (recognise and adapt — do not hard-code to one):

| Dialect / source | Distinctive markers |
| --- | --- |
| Amtech/Trimble ("Board Data" export) | Id No, Model No, Ze (Ω), Fault Rating (kA), per-phase Connected/Diversified Load, per-way In / Ir / Type / RCD mA / AFDD / Cable mm² / Cores / Sep.CPC mm². Files: DB_Schedules_P02, DBs_with_devices_for_Ben…, Switchboard_Schedules_P02, Broomfield_House…, Guernsey_Report…, DB_SCHEDULE. |
| Trimble "Distribution Board Schedule/Report" (William Farr) | Paired Schedule + Report (cable calcs); Job Number 847. Files: DB_K_Kitchen…, DB_L_Laundry…, DB_LL_*, DB_PL_Plantroom…. |
| BES / Brenbar (Kings Road Park) | DB Reference, DB Fed From, Device Protecting DB, Number of ways (TP/SP), Spare capacity %; per-way WAY PHASE CIRCUIT-DESCRIPTION config PROTECTIVE-DEVICE(A) Curve RCD(mA) AFDD. Files: DB_Schedule_2026*. |
| Syntegral (Anoopam Crematorium) | Way CCT n (+ n/Lx for 3-phase); columns MCB/RCBO Rating(A), Trip Curve, RCD/RCBO(mA), Arc Fault Detection, Cable Type (coded 1–5), Phase & Neutral(mm²), CPC(mm²/SWA), Circuit Configuration, Duty; Cable Type legend 1–5. File: 25057RCXXXXSHE00001…REV_C02. |
| BAM / EPO (Ashfield School) | Reference, Serving, [rating] Sw/Discon, [n] Way TP&N, Incoming Cable Reference; per-way Way Line In Ib P L1 L2 L3 csa Type InstallMethod; device-type legend P1–P5, cable-type legend T1–T6, install method per Table 4A2. Files: EPO_Circuitry_mark_up, SRP1053…Schedule_No_11…, SRP1024…Schedule_No_11…. |
| Hevacomp (The Angel, Cardiff) | Protective-device note block ("Small power type B RCBO/AFDD 10kA; Lighting…"); Served by SBxx. Files: The_Angel_Cardiff…, DBG_2023_09_11, DBK_2023_09_11. |
| Simple markup | Way No / Device Rating(A) / Device Type / Phase + hand-added cable notes. Files: BC250847_E13, BC250847_E15. |

Standard legends to normalise to (persist these):

- Device-type codes: P1 = MCB (Curve C default), P2 = RCBO (Type A unless stated), P3 = MCB/Fuse + separate 30 mA RCD, P4 = HRC fuse, P5 = MCB user-defined.

- Cable-type codes (BAM T-series): T1 = LS0H single core in conduit/trunking, T2 = XLPE/SWA/LS0H, T3 = MICC/LSF, T4 = XLPE/SWA/PVC, T5 = XLPE/LS0H flat twin & earth, T6 = T1 + separate 4mm² CPC.

- Cable-type codes (Syntegral 1–5): 1 = LS0H multi flat, 2 = Cu XLPE/SWA/LS0H armoured, 3 = Cu XLPE/LS0H soft-skin fire-rated PH120, 4 = Cu XLPE/SWA/LS0H armoured fire-rated F120, 5 = LS0H Cu singles.

- Cable legends are per-document — always read the legend on the drawing and map its codes to a normalised cable description; never assume T5 means the same thing across two projects.

### 3.4 CONSUMER UNIT (CU) — domestic sub-format

Same skeleton as a DB schedule, smaller: Board Identity (e.g. "Consumer Unit (General Apartment)"), No of Ways (e.g. 8), DB Incomer Device Rating/Type (e.g. 63A Switched Disconnector); per-way Way Phase Circuit-Description CPD-Rating(A) CPD-Type RCD(mA) Phase-Conductor(mm²) Sep-CPC(mm²) Cable-Type Installation-Method. Multiple CU variants often appear in one file (e.g. General Apartment / Cluster Bedroom / Cluster Kitchen). CUs may also appear as SLD-style layout drawings (treat as schematic-flavoured but extract the same way rows). Files: DUNRYBXXXXSPE61002…, 114026NPSZ100DRE6000…, SLDCONSUMER_UNIT_FOR_REVIT…, 10__Electrical_Specification__Appendix_5__ConsumerUnit.png.

### 3.5 Revisions

Documents carry an amendment/issue block (Rev | Date | Detail | By | Checked) with a progression like P01 → P02 → C01 → C02 …. Filenames often hint at the change (e.g. rev3_panel_fuse_now_160A_not_32A). Match revisions of the same drawing by document reference (e.g. 847-RME-XX-ZZ-DR-E-0900) ignoring the trailing rev suffix, or let the user pair them. Use the drawing's own amendment block as a sanity check against your detected diff.

## 4. CANONICAL DATA MODEL  (shared contract for extraction + UI + pricing)

Normalise every document into this. The model is the interface between the AI layer (fills it) and the deterministic layer (aggregates + prices it).

Project {

id, name,

documents: [Document],

boards:    [Board],

devices:   [Device],

feeds:     [Feed],          // the input→output edges — the priority

discrepancies: [Discrepancy]

}

Document {

id, filename,

type: "schematic" | "db_schedule" | "specification",

sub_format: "amtech" | "bes" | "bam_epo" | "syntegral" | "hevacomp" | "cu" | "switchboard" | "mccb" | "simple" | "unknown",

revision, revision_date,

pages, source: "native_text" | "ocr",

page_classifications: [ { page, type, confidence, source } ]

}

Board {

id, ref,                    // e.g. "DB-00-08", "G1-GF-DB-LL", "PB01"

description, location, block,

board_type_text,            // verbatim, e.g. "18 WAY TP&N MCCB PANELBOARD, FORM 4 TYPE 6, 50kA"

form, type, kA,

ways: { sp, tp, total, spare },

incomer: { device_class, rating_A, poles },   // main switch / incoming device

fed_from_ref,               // parent board ref  (input side)

serving,                    // free-text of what it powers (output side)

protecting_device,          // device at the PARENT that protects this board

spare_capacity_pct,

metering, dual_earth,

source_doc_id, source_page, confidence

}

Device {                      // one equipped way = one device (spares/SPD flagged)

id, board_ref, way, phase,  // phase ∈ L1|L2|L3|SP

description,                // duty / load name

device_class,               // MCB|RCBO|MCCB|ACB|fuse|switch_disconnector|isolator|SPD|contactor|RCD|spare

rating_A, ir_A,             // In, and Ir if adjustable

trip_curve,                 // B|C|D|null

rcd_mA, afdd,               // afdd: bool

poles,                      // 1|3|4

cable: { type_code, type_desc, phase_csa_mm2, cpc_csa_mm2, cores, install_method, length_m },

circuit_config,             // RING|RADIAL|null

is_spare, is_spd,

source_doc_id, source_page, confidence

}

Feed {                        // schematic edge: parent → device → cable → child

id, from_board_ref, from_device_id,

to_board_ref,

cable: { ref, phase_csa_mm2, cpc_csa_mm2, cores, type_desc, length_m },

source_doc_id, confidence

}

Discrepancy {

id, kind,                   // "rating_mismatch" | "board_missing_in_schedule" | "board_missing_in_schematic" | "way_count_mismatch" | "cable_mismatch" | "revision_change"

board_ref, feed_id,

schematic_value, schedule_value,

severity,                   // info | warning | critical

status,                     // open | resolved

chosen_source              // which the user kept

}

Take-off (deterministic, computed in code — never by the model):

- Group equipped Devices by (device_class, rating_A, trip_curve, poles, rcd_mA, afdd) → counts, with a per-board breakdown.

- Roll up the cable schedule by (type_desc, phase_csa_mm2, cores) with total length where known.

- Spare-way policy (make it a config flag, default explicit): spares and "TBC by manufacturer" SPDs are reported as capacity, listed separately, and not counted as priced devices unless the user opts in.

- Pricing = deterministic join of the take-off to price_list.csv (existing generate_quote.py path). Reference wholesaler quote format (product code / description / quantity / price, grouped into sub-assemblies like "Main PB") is exemplified by 205987740… and 205988411….

## 5. THE FIVE WORKSTREAMS (modify the existing pages in §2)

Each workstream changes a page that already exists — see the §2 table for the current control you're editing. Ship them as independent, verifiable increments.

### 5.1 Three-type page classification  (edits: Documents → Page classification dropdown + classifier)

- Replace the current long dropdown/classifier (Cover page, Drawing register, …, Unknown) with exactly Schematic / Distribution Board Schedule / Specification. Map any legacy stored types onto the three.

- Classify per page (documents are often mixed — a 51-page schedule, a 1-page schematic). Store type, confidence, source (native_text|ocr), and detected sub_format.

- Keep the manual override (user can correct a page's type; persist "Manually set").

- Acceptance: on the 99 fixtures, ≥95% of pages land in the correct one of three; every page is overrideable; sub-format is tagged for schedules.

### 5.2 Revision comparison + canvas viewer  (edits: the existing Viewer tab + its Overlays/OCR/assisted-canvas)

Revision compare (structured, not just pixel/text diff):

- Register a document's revisions (match by document reference, or user-paired). Extract each revision into the §4 model, then diff semantically: device added/removed, rating/poles/curve/RCD/AFDD changed, board added/removed, way spare→equipped, cable size changed, incomer changed.

- Fall back to OCR text diff to catch anything the structured layer misses.

- Output a plain-English change report with confidence and source location (page + region) for click-through. Cross-check against the drawing's amendment block.

- Acceptance (real fixture): 847-RME-XX-ZZ-DR-E-0900 across rev2__panel → rev3_panel_fuse_now_160A_not_32A → rev5…C5 must report at least: sprinkler/life-safety fuse 32A → 160A, UPS removed + 75kVA generator & LSI ATS added, SDP board added, DB references amended to Grd & 2nd — and reconcile with the P1/P2/C1–C5 amendment list.

Canvas viewer ("View" → full flexibility): page sizes A4/A3/Letter/Legal/custom + A0/A1 engineering & CAD-sized; portrait/landscape/mixed/rotated; smooth zoom 25%–800%; fit-width / fit-page / actual-size; thumbnail nav panel; virtualised/lazy rendering for hundreds–thousands of pages; in-PDF text search; page-number nav; full-screen; dark/light; print + download; keyboard nav + screen-reader support; multi-document tabs; infinite-canvas mode for large drawings; annotation viewing; smart highlighting (highlight all instances of similar text, and highlight by board reference across selected pages).

- Suggested stack: PDF.js for rendering + text layer/search; a deep-zoom/tiled approach (e.g. OpenSeadragon-style) or canvas virtualisation for A0 infinite-canvas; virtualise the page list. Confirm the stack against what the existing app already uses before adding deps.

- Acceptance: open a 1-page A0 schematic (SRP1053…4801) and a 51-page schedule (SRP1053…6858 / The_Angel_Cardiff…) smoothly; search finds a board ref and smart-highlight marks every instance.

### 5.3 Drop-anywhere capture + auto-scrape + assisted review + cross-referencing  (edits: Documents dropzone + the existing Review queue; adds cross-referencing)

- Full-page dropzone: widen the existing "Drop electrical documents here" area so a drop anywhere on the Documents page captures (PDF/TXT/CSV). Keep the current auto-analyse trigger; auto-classify (§5.1) and auto-scrape on ingest.

- Assisted manual review: side-by-side rendered page ↔ extracted structured rows, editable, with confidence flags and "jump to source". Nothing enters the take-off until the user has had the chance to review; low-confidence rows are visually flagged.

- Cross-reference schematic ↔ DB schedule: when both exist for a project, match boards across them and flag discrepancies (rating mismatch, board present in one but not the other, way-count mismatch, cable mismatch). Present a resolution UI so the user chooses which source wins per discrepancy; record chosen_source.

- Acceptance (real fixture): DB-00-08 appears in the SRP1053 schematic (18-way TP&N food-room power, fed via cable F28) and in the BAM schedule (DB-00-08P, 160A Sw/Discon, incoming cable F28). The tool links them, confirms the F28 cable and rating are consistent, and flags any mismatch for resolution.

### 5.4 Merge Boards + Devices into one page  (edits: fuse the existing Devices and Boards tabs)

- Combine today's two tabs into one. Reuse the Boards tab's hierarchy/"Supplied-from" data and the Devices tab's counter + CSV/XLSX export. A board list / feed-hierarchy tree (using fed_from_ref) on one side; selecting a board reference shows a table of every device on that board (the §4 Device rows), plus the board header (incomer, ways, fed-from, serving, spare capacity). Carry over "Possible duplicate boards" and "Exclude unpopulated spare & space ways".

- Show the roll-up take-off (grouped device counts) across all boards, with per-board drill-down.

- Acceptance: selecting DB-AV (Syntegral) shows 7 equipped circuits + 4 spares + 1 SPD on way 12, incomer 12-way SP&N; selecting DB-MECH shows the 18-way TP&N board with 3-phase (n/L1..L3) rows correctly split.

### 5.5 Rebuild the Compare page  (edits: the existing Compare tab)

- Keep the existing A/B pickers and change-type filter (Circuit added/removed, Rating/Device-type/Cable changed, Board added/removed) but make it simple and powerful: a filterable semantic change list (added / removed / changed, filter by board), a synced dual-pane viewer (reuse the §5.2 viewer), and jump-to-change wired to ↓ Next. Reuse the §5.2 structured diff engine.

- Acceptance: the William Farr revision set renders as a clean, filterable change list with dual-pane jump-to-change, not a wall of raw OCR text (the current pain point).

## 6. Guardrails / non-negotiables

- AI extracts, code computes. No counting, diversity, or pricing inside the model.

- Provenance + confidence on everything (doc, page, score).

- Flag conflicts; never auto-resolve. The human picks.

- Normalise, don't hard-code. Support the format dialects in §3.3 via a mapping layer; read each document's own legend.

- Spares & TBC-SPDs are capacity, not silent priced devices (config flag).

- Take-off accuracy is the acceptance bar. A feature that risks miscounting devices is not done.

- Keep the extraction prompt(s) and the domain model in the repo so behaviour is reproducible.

## 7. Test fixtures (already in this project — read them directly)

| Scenario | Files |
| --- | --- |
| Schematic, input→output backbone, A0 | SRP1053BMD01ZZDE4801…NB1_and_NB2…, 2429SGLV1XXDRE1001P1/1002P1, C056BBKXXZZZZSE4101…, W702OCO03…LV_Schematic (Cores D/E/F/G/SW) |
| DB schedule dialects | Amtech: DB_Schedules_P02, DBs_with_devices_for_Ben…; BES: DB_Schedule_2026*; Syntegral: 25057RCXXXXSHE00001…; BAM/EPO: EPO_Circuitry_mark_up, SRP1053…Schedule_No_11…; Hevacomp: The_Angel_Cardiff… |
| Consumer units | DUNRYBXXXXSPE61002…, 114026NPSZ100DRE6000…, SLDCONSUMER_UNIT_FOR_REVIT… |
| Switchboard / MCCB / composite | Switchboard_Schedules_P02, …MCCB_Schedule, SRP1053…Schedule_No_4_Composite… |
| Revision set (for §5.2 / §5.5) | rev2__panel, rev3_panel_fuse_now_160A_not_32A, rev5___847RMEXXZZDRE0900…C5 |
| Cross-reference pair (§5.3) | schematic SRP1053…4801 ↔ schedule SRP1053…6858 / EPO_Circuitry_mark_up (shared board DB-00-08, cable F28) |
| Pricing output format (secondary) | 205987740…Contractor/Stockist, 205988411… |
| Scanned / image-only (exercise OCR) | LV_schematic, LV_schematic2/3/4, SKM_C551i…, doc08967220251013144029 |

## 8. Access, deployment & credentials — read before you start

- Live app: https://estimation101.netlify.app/ — this is the deployed instance to diagnose against. Workspace password: design#50.

  - This password is currently enforced client-side only (it gated rendering, not data access — it was trivially bypassable from outside). If the workspace is meant to be private, that's a real gap: move the gate server-side (Netlify Identity, a password-protected redirect, or an authenticated function) rather than a client-side check anyone can read past in the bundle. Flag this even if it's not one of the five workstreams — it's a live exposure.

- Claude API key: a key was shared in chat for this project. Treat it as already compromised — rotate/revoke it in the Anthropic Console and generate a fresh one before wiring anything up. A key that has appeared in any chat, ticket, or doc should always be rotated, on principle, regardless of who saw it.

- How the new key must be handled (non-negotiable, given this is a client-side SPA):

  - Never hardcode the key in source, commit it to the repo, or ship it inside the built front-end bundle — anything sent to the browser is extractable by any visitor, the same way this chat's key must now be rotated.

  - Store it as a server-side environment variable — in Netlify: Site configuration → Environment variables (e.g. ANTHROPIC_API_KEY), never in .env files that get committed (confirm .env* is in .gitignore).

  - All calls to the Claude API must go through a serverless function (Netlify Function) that reads process.env.ANTHROPIC_API_KEY server-side and returns only the result to the browser. The front-end calls your own function endpoint, never api.anthropic.com directly.

  - If the current deployed app does call the Anthropic API directly from client-side code, that's a second live exposure on top of the auth gap above — surface it immediately, since it leaks the key to every visitor exactly like this chat did.

  - Confirm local dev reads the key from an untracked .env (ANTHROPIC_API_KEY=..., gitignored) and that Netlify's env var is what production actually uses — report back which of these the current setup already gets right or wrong.

## 9. Definition of done

- Extraction completeness (Workstream 0) is fixed and gated: the Coverage Report clears the agreed recall threshold on every fixture, multi-page boards are stitched, scanned pages are auto-OCR'd, unrecognised-dialect/empty pages are raised not accepted, and every unaccounted region lands in the Review queue rather than vanishing.

- Classification uses exactly the three types, per-page, overrideable, with sub-format tagging.

- Every fixture extracts into the §4 model with provenance + confidence; the merged Boards+Devices page shows accurate per-board device tables and a correct roll-up take-off.

- Feeds (input→output) are captured from schematics and reconciled against schedules; discrepancies are flagged and resolvable.

- Revision compare produces the correct plain-English change report on the William Farr set; the canvas viewer meets the §5.2 capability list; the Compare page is the simple, powerful dual-pane experience.

- The AI-extracts / code-computes boundary is intact; the domain model is persisted in the repo.

Start by reading the estimation-tool folder + HTML entry point, mapping the existing tabs in §2 to their components, and reading a representative spread of the fixtures. Then, because the top bug is missing data: build the Workstream 0 (§2A) Coverage Report and run it across the fixtures, and show me that completeness baseline first. Alongside it give me: (a) a one-paragraph note on how the deployed app is actually wired (extraction path, state shape, where rates live), (b) confirmation that the API key is server-side only per §8 (fix immediately if not), (c) which existing component each of the five workstreams edits, and (d) your plan to close the biggest recall gaps — before writing feature code.